# Example 8

STORM WATER MANAGEMENT MODEL

APPLICATIONS MANUAL

Combined Sewer Overflows

This example demonstrates how to model systems that convey both sanitary wastewater and stormwater through the same pipe. Systems like the one simulated here are referred as combined sewer system, and the overflows caused during periods of moderate to heavy rainfall are known as Combined Sewer Overflows (CSOs). CSOs discharges can cause serious water pollution problems, especially in old communities and cities, where combined sewer system are more common. Contaminants from CSOs discharges can include conventional pollutants, pathogens, toxic chemicals and debris.

The objective of this example is to provide guidance in the application of SWMM to represent combined sewer systems and the flow regulators controlling the flow between collection sewers, interceptors and the water body. Additionally, this example demonstrates how to design a pump station to pump the intercepted flows through a force main line.

  - Problem Statement

The objective of this example  is to model a combined sewer system developed for the 29 acre urban watershed presented in Example 2, and evaluate its performance using the water quality storm defined in Example 3 (0.23 in.) and the 2-yr storm (0.98 in.). Combined sewer pipes conveying wastewater and stormwater flows generated at different sewersheds (or areas that contribute wastewater flows to a single point) will be added to the model. The wastewater discharges (or dry-weather flows) will be considered to be constant and computed based on an average discharge rate per capita. The design will consider an interceptor sized to control wastewater discharges plus a portion of the stormwater, and convey them to a pump station that pumps these discharges through a force main line to a constant head outfall at a higher elevation, representing the entrance condition at a wastewater treatment plant (WWTP). A combination of orifices, weirs and pipes is used to represent the five flow regulators that transfer wastewater into the interceptor. The Combined Sewer Overflows (CSOs) that cannot be diverted by these devices will discharge directly into the stream running through the site’s park area. The schematic representation of the combined sewer system to be simulated in this example is shown in Figure 8-1. The representation includes the combined sewer pipes (in green) draining the subcatchments (or sewersheds) S1, S2, S3, S4 and S5, the stream (in blue), the interceptor (in brown), the flow regulators (red box), and the pump station.

Figure 8-1: Drainage system, Example 8

  - Representing Combined Sewer Systems in SWMM

Combined Sewer Systems

Combined sewer systems are systems that convey both sanitary sewerage and stormwater through the same pipes. Interceptors are pipes designed to capture 100% of the sanitary flows and convey them to a WWTP. During periods of moderate or heavy rainfall, however, the wastewater volume in the combined sewer system exceeds the capacity of the interceptor. For this reason, combined sewer systems are designed to discharge the excess wastewater directly to a nearby stream or water body through diversion regulators. Figure 8-2 shows a schematic representation of a combined sewer systems and CSO occurring in the system. The figure shows how for wet-weather flows the interceptor at the bottom is able to convey only part of the flow into the WWTP and CSOs occur.

Figure 8-2: Schematic representation of combine sewer overflows (CSO) in a combined sewer system. Source: Field and Tafuri (1973)

Dry-Weather flows

In SWMM, combined sewer systems can be modeled easily by combining the stormwater runoff discharges and dry water flows (wastewater flows) defined in as many nodes as necessary using the dry weather tool available in the Inflow Editor property.

Flow Regulation Structures

Flow regulators (or diversion structures) are used in this example to control the flow between collection sewers and the interceptor. These regulators allow the conveyance of wastewater to treatment facilities during dry weather conditions. During Wet Weather Flow (WWF) conditions the regulators divert flows away from the interceptor to water course to avoid surcharge and flooding of the combined sewer systems. Typical flow regulators include side weirs, leaping weirs, transverse weirs, orifices and relief siphons. Metcalf & Eddy, Inc. (1991) presents a detailed description of these different types of regulators. In particular in this example flow regulators of the type transverse weir with orifice, illustrated in Figure 8-3, are used. In this regulator there is a weir or a small plate placed directly across the sewer perpendicular to the line of flow. Low flows are diverted to the interceptor through an orifice located upstream the weir. Increase of flow during wet weathers results in flow overtopping the weir and discharging to the overflow outlet, conducting into the stream.

Figure 8-3: Transverse weir flow regulator

Transverse flow regulator can be represented in SWMM using weir and orifice elements available in the model. Because these elements correspond to hydraulic links, the use of the representation proposed here requires the definition of additional junctions. A schematic representation of two possible definitions of a transverse flow regulator in SWMMis shown in Figure 8-4 (a and b), in addition to a third representation that operates with the same principle shown in Figure 8-3, but no weirs or orifices are used (Figure 8-4 c). These three representations are implemented in this example. Two of them consider the weir shown in Figure 8-3, but there is a difference in the definition of the diversion to the interceptor. The definition in (a) considers a bottom orifice to conduct flows from the combined sewer into the interceptor, while the definition in (b) considers a pipe instead of a bottom orifice. Finally, the third definition (Figure 8-4 c) considers neither a weir nor an orifice to divert flows into the interceptor and the stream. The control here is defined through different inlet offsets for the pipes that convey flows to the interceptor and the stream. The first pipe has an inlet offset of zero while the pipe linked to the stream has a larger invert elevation.

Several alternative representations are illustrated in this example to show different approaches in defining regulators. Particular configurations in real applications will depend on the specific conditions in the field. Some of the hydraulic phenomena that can be artificially introduced into the model by these representations include surcharged weirs, instabilities caused by short pipes and excessive storage associated with large pipes.

Figure 8-4: Alternative for representing transverse weir flow regulator in SWMM

Pump Stations

Pumps are links used to lift water to higher elevations. They are defined in the model between two nodes and can be in-line or off-line. The principal input parameters for a pump include the identification of the inlet and outlet nodes, its pump curve, initial on/off status and startup and shutoff depths. Its operation is defined through one of the four pump curves that relate the discharges pumped to the conditions at its inlet node and outlet (discharge) node. The on/off status can be controlled dynamically by defining startup and shutoff water depths at the inlet node or through user-defined control rules. A pump is defined in the model in the same fashion as any other link, while the pump curve is created using the Pump Curve Editor and assigned through the Pump Property Editor. Examples of both editors are shown in Figure 8-5.

Figure 8-5: (a) Pump Property Editor and (b) Pump Curve Editor

  - Model Setup

Combined Sewer System

Figure 8-6 shows the system to be modeled in this example. Example 7 (Example 7.inp) is the starting point for the model setup, although major changes are required. Gutter elements will be removed as will the pipes along the stream running through the park; the pipes will be replaced with an interceptor located at the north side of the stream, as illustrated in Figure 8-1. The interceptor conveys wastewater flows to a pump station comprising a storage unit, which represents the wet well, and a pump.  The pump discharges through a force main line to a constant head outfall (O2) representing the inlet to a hypothetical WWTP. The pipes representing the line will be defined as well as the nodes connecting them. These nodes will represent simple connections and not manholes; thus, the property “surcharge depth” will be used to specify a maximum possible pressure along the line. New pipes representing the combined sewer system need to be defined as well as several weirs and orifices to define the flow regulators. The reader may notice that the bed of the stream is assumed to be 5 ft lower than the stream bottom elevations used in Example 2. The reason for this is so that backwater from the stream will not flood the regulators in the combined sewer system.

Figure 8-6: Schematic representation of the combined sewer systems

The first modification is to remove junctions Aux1 and Aux2 as well as conduits C2a, C2, C_Aux1, C_Aux2, C_Aux1to2, P5, P6, P7 and P8. Then, the elevations of the nodes are changed as well as the inlet and outlet offsets of the links defining the stream in the park. The new invert elevations of the nodes in the stream (Aux3, J3, J4, J5, J6, J8, J9, J10, J11 and outlet O1) are shown in Table 8-1. Junction in the stream that are not connected to the other conduits will have a zero depth (thus, the depth of these junctions is given by the maximum depth of the stream conduit connected to the junction), while the other ones will have a depth equal to the ground elevation minus the invert elevation of the junction. The stream is shown in blue color in Figure 8-1 and Figure 8-6.

The next step is to define the combined sewer pipes, shown in green on Figure 8-6 and identified with the letter P. All of them have a roughness coefficient of 0.016. P1, P2, P3 and P4 were defined already in Example 7 and two more combined sewer pipes are added; P5 will convey flows from subcatchment S4 and P6 from subcatchment S5. The upstream nodes (or inlet nodes) for these pipes, J13 and J12, are defined as well. The information of these junctions is shown in Table 8-1. The properties of the combined sewer pipes are shown in Table 8-3.

Table 8-1: Summary of the nodes

| Node ID | Invert Elevation (ft) | Maximum depth (ft) | Node ID | Invert Elevation (ft) | Maximum depth (ft) |
| --- | --- | --- | --- | --- | --- |
| J1 | 4969 | 4.2 | J13 | 4968 | 4.8 |
| J2a | 4966.7 | 4 | Aux3 | 4968.5 | 0 |
| J2 | 4965 | 4 | JI1 | 4958 | 16 |
| J3 | 4968 | 0 | JI2 | 4957 | 15.8 |
| J4 | 4966 | 0 | JI3 | 4955 | 16 |
| J5 | 4964.8 | 0 | JI4 | 4952 | 14 |
| J6 | 4964 | 0 | JI5 | 4950 | 16 |
| J7 | 4960 | 12 | JI6 | 4967 | 7.2 |
| J8 | 4961.5 | 0 | JI7 | 4967 | 6 |
| J9 | 4959.8 | 0 | JI8 | 4962 | 6.2 |
| J10 | 4958.8 | 0 | JI9 | 4960 | 5.2 |
| J11 | 4958 | 0 | O12 | 4957 | - |
| J12 | 4968 | 4.2 | Well | 4945 | 14 |

1 Colors indicate whether the nodes belong to the stream (blue), the sewer pipes (green), the interceptor (brown) or they are the diversion junction (grey)

2 O1 = Outlet junction for the stream, maximum depth not defined

3 O2 = Outlet junction to the wastewater treatment plant, fixed stage of 4970 ft

With the sewer pipes entered in the model, it is necessary now to redefine the outlets of the different subcatchment. These outlets will receive the stormwater runoff generated by the subcatchments as well as the flows corresponding to the wastewater flows, defined later in this section. In other words, the subcatchments used for drainage are also defined as sewersheds in this example. No other changes to the properties of the subcatchments are required. Table 8-2 shows the new subcatchments’ outlets.

The next step is to define the interceptor running along the north side of the stream that conveys the wastewater flows to the pump station located at the east side of the watershed. Its pipes are identified with the letter I and brown color, as shown in Figure 8-6. Conduits I1, I2, I3, I4 and I9 are the main pipes of the interceptor. The new nodes belonging to the interceptor are identified with the letters JI. Properties of the nodes and pipes of the interceptor are summarized in Table 8-1 and 8-3.

Table 8-2: Subcatchments’ outlets

| Subcatchment | Outlet node |
| --- | --- |
| S1 | J1 |
| S2 | J2a |
| S3 | Aux3 |
| S4 | J13 |
| S5 | J12 |
| S6 | J11 |
| S7 | J10 |

Table 8-3: Summary of the conduits1

| Pipe ID | Shape | Inlet Node | Outlet Node | Length (ft) | h or d (ft) 2 | Rough. Coeff. | b (ft) 3 | Z1 4 | Z2 5 | Inlet Offset (ft) | Outlet Offset (ft) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C3 | Circular | J3 | J4 | 108.96 | 2.25 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| C4 | Trapezoidal | J4 | J5 | 133.08 | 3 | 0.05 | 5 | 5 | 5 | 0 | 0 |
| C5 | Trapezoidal | J5 | J6 | 207.45 | 3 | 0.05 | 5 | 5 | 5 | 0 | 0 |
| C6 | Trapezoidal | J7 | J6 | 139.99 | 3 | 0.05 | 5 | 5 | 5 | 5 | 0 |
| C7 | Circular | J6 | J8 | 95.43 | 3.5 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| C8 | Trapezoidal | J8 | J9 | 165.88 | 3 | 0.05 | 5 | 5 | 5 | 0 | 0 |
| C9 | Trapezoidal | J9 | J10 | 320.32 | 3 | 0.05 | 5 | 5 | 5 | 0 | 0 |
| C10 | Trapezoidal | J10 | J11 | 142.60 | 3 | 0.05 | 5 | 5 | 5 | 0 | 0 |
| C11 | Circular | J11 | O1 | 90.10 | 4.75 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| C_Aux3 | Trapezoidal | Aux3 | J3 | 444.75 | 3 | 0.05 | 5 | 5 | 5 | 6 | 0 |
| P1 | Circular | J1 | JI7 | 160.75 | 1.33 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| P2 | Circular | J2a | J2 | 157.48 | 1.5 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| P3 | Circular | J2 | JI9 | 497.25 | 1.5 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| P4 | Circular | Aux3 | JI6 | 595.29 | 1.67 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| P5 | Circular | J13 | J7 | 377.76 | 1.67 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| P6 | Circular | J12 | JI8 | 498.42 | 1.67 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| I1 | Circular | JI1 | JI2 | 150.36 | 1 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| I2 | Circular | JI2 | JI3 | 230.38 | 1 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| I3 | Circular | JI3 | JI4 | 578.27 | 1.5 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| I4 | Circular | JI4 | JI5 | 124.45 | 1.5 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| I5 | Circular | JI7 | JI2 | 10.65 | 0.33 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| I6 | Circular | J7 | JI3 | 153.02 | 0.66 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| I7 | Circular | JI8 | JI4 | 32.88 | 0.5 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| I8 | Circular | JI9 | JI5 | 47.72 | 0.5 | 0.016 | 0 | 0 | 0 | 0 | 0 |
| I9 | Circular | JI5 | Well | 100 | 2 | 0.016 | 0 | 0 | 0 | 0 | 4 |

1 Colors indicate whether the pipes belong to the stream (blue), the sewer pipes (green) or the interceptor (brown)

2 h or d corresponds to the depth (Trapezoidal shape) or diameter (Circular shape)

3 b corresponds to the bottom width (Trapezoidal shape)

4, 5 Z1 and Z2 correspond to the left and right slope (Trapezoidal shape)

The flow regulation structures are the next elements to be represented in the model. Five flow regulators identified with the letter R will be defined to control the flows from the five combined sewers (P1, P3, P4, P5 and P6) into the interceptor. These identifiers (R1,…,R5) are given only for reference purposes in the text; in the actual model regulators are not defined as elements directly, but rather through a combination of orifices, weirs and pipes (i.e, in the model there is not an element named R1), as seen in Figure 8-6. Regulators R2, R4 and R5 will be simulated using a transverse weir and a pipe (Figure 8-4 b). Regulator R1 will be simulated using a transverse weir and a bottom orifice (Figure 8-4a), and regulator R3 will be represented as two conduits with different inlet offsets (Figure 8-4c), with conduit C6, connected to the stream, being 5 ft higher than conduit I6, connected to the interceptor. Thus, discharges to the stream will not occur until the water depth at junction J7 is greater than 5 ft. As mentioned before, different representations are used to illustrate different possible approaches in modeling regulators in combined sewer systems. In actual applications, the final representation will depend on the particular characteristics of the regulator to be modeled. All the orifices and weirs have discharge coefficients of 0.65 and 3.3 respectively. For more details in how to define weirs and orifices, readers are referred to Example 3. Table 8-4 shows the main information for each regulator, including the identification (column 1), the sewer pipe controlled (column 2), and the node in which the diversion occurs (column 3), defined as diversion junctions in Figure 8-6. In columns 4 to 8, the pipe or transverse weirs connecting to the stream are identified along with their properties and the junctions in the stream to which they are linked. The orifices and pipes that convey water into the interceptor are shown in columns 9 to 12 along with their properties and the junctions in the interceptor to which they are linked. Note that for all the weirs, the sum of the inlet offset and the height is smaller than the depth of the corresponding inlet node, defined in Table 8-1.

Table 8-4: Summary of the regulator structures

| Flow regulator | Sewer pipe controlled | Inlet node | Discharge into stream | Discharge into interceptor |
| --- | --- | --- | --- | --- |
|  |  |  | ID | Height (ft) | Length (ft) | Inlet offset | Outlet node | Type | ID | Diameter (ft) | Outlet node |
| R1 | P4 | JI6 | W1 | 6.5 | 3 | 0.4 | J4 | Orifice | Or1 | 0.5 | JI1 |
| R2 | P1 | JI7 | W2 | 5.5 | 5 | 0.33 | J5 | Pipe | I5 | See Table 8-3 |
| R3 | P5 | J7 | C6 | Pipe, see Table 8-3 | Pipe | I6 | See Table 8-3 |
| R4 | P6 | JI8 | W3 | 5 | 4 | 0.4 | J10 | Pipe | I7 | See Table 8-3 |
| R5 | P3 | JI9 | W4 | 4.5 | 4 | 0.35 | J11 | Pipe | I8 | See Table 8-3 |

Pump station, force main line and outlet

Finally the pump station is defined at the downstream end of the interceptor. A wet well whose bottom elevation is 4945 ft is defined as the outlet node of conduit I9. The well is represented using a storage unit with a constant surface area of 300 ft2 and a maximum depth of 14 ft. This simple storage shape can be defined using the functional curve option:

(8-1)

where A(h) is the surface area as function of the water depth h and a, b and C are constant to be defined. Thus, values of a = 0, b = 0 and C = 300 are used to represent the well in this example. An initial water depth of 3 ft entered in the Property Editor of the storage unit will be considered at the beginning of the simulations. The in-line pump Pump1 will pump the discharges to the head of the force main line, defined by node JI10, located at an elevation of 4947 ft. The ascending section of the line is composed of three pipes: I10, I11 and I12. Each one has a diameter of 2 ft, a length of 500 ft, a roughness coefficient of 0.016 and inlet and outlet offset values of zero. Node JI10 connects the pump and pipe I10; node JI11 (invert elevation = 4954.8 ft) connects pipes I10 and I11 and node JI12 (invert elevation = 4962.6 ft) connects pipes I11 and I12. Finally, node JI13 (invert elevation = 4970.4 ft) connects pipe I12 and pipe I13, a 4-ft pipe that has a positive slope and the same properties as the rest of the pipes belonging to the force main line. As explained in the sidebar “Defining a force main line” all nodes in the main line are assigned a surcharge depth of 50 ft, an arbitrarily high value to avoid flooding. The downstream end of pipe I13 is outfall O2, a Fixed constant head outfall with an invert elevation of 4968 ft, and a fixed stage at 4970 ft. Both elevations are defined in the Property Editor of the outfall. Table 8-5 summarizes the force main line information, and Figure 8-7 shows its the details.

Table 8-5: Summary of the force main line

| Pipe ID | Shape | Inlet Node1 | Outlet Node1 | Length (ft) | Diameter (ft) | Rough. Coeff. | Inlet Offset (ft) | Outlet Offset (ft) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| I10 | Circular | JI10 (4947 ft) | JI11 | 500 | 2 | 0.016 | 0 | 0 |
| I11 | Circular | JI11 (4954.8 ft) | JI12 | 500 | 2 | 0.016 | 0 | 0 |
| I12 | Circular | JI12 (4962.6 ft) | JI13 | 500 | 2 | 0.016 | 0 | 0 |
| I13 | Circular | JI13 (4970.4 ft) | O2 (4968) | 500 | 4 | 0.016 | 0 | 0 |

1 Number in parenthesis indicates the invert elevation of the node

Figure 8-7: Force main line

A type 3 pump curve also called Pump 1 will be used for the pump; this curve relates the pump discharges and head differences between the input node (well) and the output nodes (JI10). Table 8-6 shows the curve for this example, which is entered following the same steps used in the defining other curves such as a storage curve. The pump turns on when the depth at the well reaches 5 ft and turns off with a water depth of 2 ft; finally, the initial status at the beginning of the simulations will be Off. All these properties are defined in the Property Editor of the pump.

Table 8-6: Pump curve

| Head (ft)1 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Discharge (cfs) | 7.2 | 6.9 | 6.5 | 6.1 | 5.7 | 5.2 | 4.7 | 4.1 | 3.6 | 2.9 | 2.3 | 1.5 | 0.8 | 0 |

1 Head is the head difference between the storage unit Well and the junction JI10

Dry-Weather (or wastewater) flows

Wastewater flow from the sewersheds will be simulated using the Dry Weather Inflow tool in SWMM, described in the sidebar “Representation of Dry Weather Flows in SWMM”. Dry weather flows are computed and defined for each subcatchment because wastewater sewersheds and drainage subcatchments are considered to be the same. Average daily values of dry weather inflow are used in this example for simplicity. However, peak daily flows can range from two to four times greater than the average daily flows. Therefore, if a conservative design is required, variable time patterns should be used to create dry weather flows representing the maximum wastewater flows. This representation, together with continuous rainfall records, allows the simulation of the dynamic performance of the system under extreme events.

Typical per capita domestic loading rates vary between 40 gpd for apartements and 150 gpd for luxury residences and estates (Nicklow et al., 2004). ASCE (1992) defines a range of average per capita domestic loading rate between 50 gpd and 265 gpd. Based on these ranges and an estimation of 3 to 5 inhabitants per lot, an average domestic loading rate per lot of 300 gpd is assumed. In addition to the domestic rates, the discharge rates from the commercial sectors in subcatchments S5 and S6 also need to be included. These are estimated to be 2850 gpd in subcatchment S5 and 8100 gpd in subcatchment S5. The dry-weather flows for the subcatchments are then computed as the sum of the domestic loading rate and the commercial rate. Table 8-7 summarizes this computation, showing the number of residential lots in each subcatchment (sewershed), the corresponding dry weather flows (in GPD and CFS) and the nodes where these flows are defined. Note that dry weather flows are not modeled in subcatchments S6 and S7 because neither residential nor commercial lots are defined in them.

Table 8-7: Summary of dry weather inflow

| Subcatchment | Node | No. of residential lots | Commercial dry weather inflow | Dry weather Inflow |
| --- | --- | --- | --- | --- |
|  |  |  |  | GPD | CFS |
| S1 | J1 | 17 | - | 5100 | 0.008 |
| S2 | J2a | 22 | - | 6600 | 0.010 |
| S3 | Aux3 | 10 | - | 3000 | 0.004 |
| S4 | J13 | 17 | 2850 | 5100+2850 | 0.0123 |
| S5 | J12 | - | 8100 | 8100 | 0.0125 |
| S6 | J11 | - | - | 0 | 0 |
| S7 | J10 | - | - | 0 | 0 |

Precipitation data and simulation options

The 0.23 inches storm defined previously in Table 5-1, Example 5, and the 2-year storm will be used to evaluate the performance of the combined sewer system. The 0.23 in. storm can be easily incorporated in the model by creating a new time series called 0.23-in. with the corresponding values of time and intensity. Dynamic wave flow routing, time steps of 15 s (reporting, wet-weather and routing) and 1 hr (dry weather) and a total duration of 12 hours will be used in all the simulations.

All the information for the model has been summarized in Tables 8-1 to 8-7. It is recommended to check the system definition one more time and compare the configuration with that shown in Figure 8-6 before running the model. The input file and the study area map should look like the file Example 8.inp and the watershed configuration shown in Figure 8-8.

Figure 8-8: Final model, watershed configuration

  - Results

0.23 in. storm

Figure 8-9 shows the performance of the pump by comparing (a) the water depth in the storage node corresponding to the well and (b) the discharge pumped. Additionally, the startup and shutoff depth are shown with blue lines. The water depth in the well at the beginning of the simulation is 3 ft and the pump initial status is off (Point 1). The pump starts working once the startup threshold depth of 5 ft is reached (Point 2). The incoming discharges are large enough so that the pump continues working and water depth in the well does not reach the shutoff elevation. The water depth reaches a maximum (Point 3) and starts decreasing until reaching 2 ft, depth at which the pump stops operating (Point 4). After 2 hours, only wastewater flows are discharged into the well, and the water depth increases slowly again until reaching the startup depth (Point 5); the pump turns on but rapidly stops when the shutoff depth is reached (Point 6). From hereafter pumped discharges fluctuate between the startup and shutoff limits

Figure 8-9: Performance of the pump. (a) water depth at storage node Well, (b) discharge pumped

Figure 8-10 shows the water elevation profile of the force main line, from the well to the outlet O2, at 52 minutes of simulation. It is possible to observe the almost constant head and the energy losses caused by friction along the system.

Figure 8-10: Water elevation profile at the force main line

Regarding the performance of the combined sewer systems, this is working fine and no CSOs occur for this frequent storm. The section Link Flow Summary of the Status Report shows that none of the hydraulic links that divert water from the sewers pipes into the stream (W1, W2, W3, W4 and C6) are conveying flows. Figure 8-11 shows the discharges at different conduits representing the stream. Because of the definition of the model represented in Figure 8-6, the only conduits of the stream receiving direct contribution from the subcatchments are C10 (through junction J10, outlet of subcatchment S7) and C11 (through junction J11, outlet of subcatchment S6). Flows simulated in any other conduit representing the stream would imply that CSOs are occurring somewhere in the system. Figure 8-11 shows that this is not the case and no overflows from the sewer pipes are reaching the stream. Flows are not observed in conduit C10 because no runoff is generated by the pervious subcatchment S7.

Figure 8-11: Flow discharges in different portions of the stream, 0.23 inches of storm

On the other hand, Figure 8-12 shows the discharges in each one of the main conduits of the interceptor. Note that peak discharges and volumes increase in the downstream direction (from I1 to I9) as the different combined sewer pipes discharge into the interceptor through the flow regulators, as illustrated in Figure 8-13. This last figure shows that all the orifices and pipes that connect the combined sewer systems and the interceptor are contributing flows to the interceptor. In this figure, the first ID identifies the conduit in which flow is simulated; the second ID corresponds to the flow regulator to which it belongs.

Figure 8-12: Flow discharges in different portions of the interceptor, 0.23 inches of storm

Figure 8-13: Flow discharges diverted in each flow regulator to the interceptor, 0.23 in. storm

2-yr storm

Results obtained for the 2-yr storm (with a volume of 0.98 in.) are now presented. Figure 8-14 and 8-15 show the discharges simulated in the same sections of the stream and the interceptor defined for the 0.23 in storm. Note that flow occurs in all sections of the stream. The Link Flow Summary of the Status Report shows that CSOs occur and all the flow regulators start discharging flow into the stream once the capacity of diversion into the interceptor has been reached. The constantly changing discharges pumped by the pump generate fluctuations that are propagated upstream as noted in the discharges simulated at the interceptor (Figure 8-15).

Figure 8-14: Flow discharges in different portions of the stream, 2-yr storm

Figure 8-15: Flow discharges in different portions of the interceptor, 2-yr storm

Figure 8-16 compares the flows that are diverted into the interceptor and the CSOs to the stream simulated in flow regulators R1 and R4. The discharges to the interceptor are the ones simulated in orifice Or1 and conduit I7, while the CSOs are the discharges simulated in weirs W1 and W3. The regulators are able to convey the discharges into the interceptor for a while, but at certain point the maximum capacity is reached and CSOs occurs. Note that the durations of CSOs are smaller than those of the discharges into the interceptor; however, the peak discharge is larger.

Figure 8-16: Flow discharges simulated in flow regulators R1 and R4 under the 2-yr storm

Table 8-8 compares the main results for the 0.23 in. and 2-yr storms. In addition, results obtained using the 10-yr storm are also included for reference. No CSOs occur for the 0.23 in. storm and all the wastewater flows are diverted into the interceptor. For the 2- and 10-yr storms, all the regulators are releasing discharges into the stream. Note how the occurrence of CSOs is reflected in the drastic increase of the peak discharge simulated at the stream outfall O1. The peak discharge changes from 0.88 cfs for the 0.23 in. storm to 20.13 cfs for the 2-yr storm and 46.46 cfs for the 10-yr storm. Table 8-8 also shows that the maximum discharge conveyed by the interceptor barely changes with the magnitude of the storm once all the regulators are discharging CSOs to the stream. The maximum water depth in the well is practically the same for the 2- and 10- year storm. This result clearly shows that flow regulators work in a way such that all the flows above the diversion capacity are directly discharged into the water body.

Table 8-8: Summary of the main results for different storm events

| Node ID | 0.23 in. | 2-yr (0.88 in.) | 10-yr (1.71 in.) |
| --- | --- | --- | --- |
| Max. discharge pump (cfs) | 7.2 | 7.2 | 7.2 |
| Max. discharge outlet O1, stream (cfs) | 0.88 | 20.13 | 46.46 |
| Maximum depth storage node Well junction JI5 (ft) | 5.38 | 13.49 | 13.87 |
| Max. discharge W1 (cfs), regulator R1 | 0 | 3.09 | 5.85 |
| Max. discharge W2 (cfs), regulator R2 | 0 | 5.87 | 9.53 |
| Max. discharge C6 (cfs), regulator R3 | 0 | 7.17 | 13.45 |
| Max. discharge W3 (cfs), regulator R4 | 0 | 9.38 | 13.46 |
| Max. discharge W4 (cfs), regulator R5 | 0 | 6.69 | 8.98 |

  - Summary

This example illustrated how to represent combined sewer systems composed of combined sewer pipes, flow regulators, a pump station and a force main line. The model build was used to simulate the performance of the system using different storms and the occurrence of Combined Sewer Overflows (CSOs). The key points illustrated in this example were:

- Combined sewer systems and their main components can be easily modeled using the hydraulic features available in SWMM. Flow regulators work in a way such that all the flows above the diversion capacity are directly discharged into the water body.

- Dry weather flows can be directly defined in nodes using the dry weather tool available in the Inflow Editor available in the Property Table. These flows can be specified using constant values or time patterns.

- Flow regulators in SWMM can be represented using a combination of pipes, orifices and weirs. The final modeling of these regulators should consider the local conditions in the combined sewer systems under analysis.

- A wet-well pump station in SWMM can be modeled using a storage unit representing the well and a pump. The operation of the pump is defined through the pump curve and other operation rules that include the initial status and the startup and shutoff elevations.

- A force main line can be defined in SWMM by using a set of pipes connected by nodes with a maximum depth of zero and an arbitrary high surcharge depth, defined to avoid flooding when the main line works under surcharged conditions.

# Text boxes

Representation of Dry Weather Flows in SWMM

This example requires the definition of dry weather flows to represent the wastewater discharges into the combined sewer system. The Dry Weather page of the Inflow Editor is used to specify a continuous source of dry weather flow or any pollutant entering a node of the drainage system. The Inflow Editor is accessed through the Properties Table of the node in which the flow is defined. Dry Weather Flows in SWMM are characterized by an average (or baseline) value and time patterns (TP) that represent monthly, daily and hourly variations. Up to four different types of patterns can be assigned. As with other time series in SWMM, one can either create the pattern directly from the Editor or select a previously defined pattern. Dry weather flows are then computed as shown below:

Dry weather flow at time t = (average value)*(TP 1)*(TP 2)*…

Based on this formulation, if no time pattern is defined, the average value becomes a constant dry weather flow entering to the node. This definition is used in this example to represent constant flows. The Inflow Editor for dry weather flows and the Time Pattern Editors are shown below.

(a)

(b)

Defining a force main line

A force main line can be defined in SWMM by using a set of pipes connected by nodes with a maximum depth of zero and an arbitrary high surcharge depth. When the node’s maximum depth is defined as zero, the depth of the node is equivalent to the distance from its bottom to the top of the highest conduit connected to it. Therefore, the node does not work as a manhole but a simple connection. A high surcharge depth is assigned to avoid flooding when the main line works under surcharged conditions. In the case of the nodes defined for the line in this example, a value of 50 ft for the surcharge depth is used, as shown in the figure at the right.

1

2

4

5

6

3

(b)

1

2

4

5

6

(a)

3

5

4

2

1

3

A

6

JI10